## Sheet1
FileName | UtilityName | UtilityType | Status | Warning | Comments
| Cadent Gas | Gas | No
42323149_SGN.pdf | SGN | Gas | Yes |  | 60.75
| SSE Utility Solutions Limited | Gas | No
| National Gas Transmission | Gas | No
| Wales and West Utilities | Gas | No
| ESP Utilities Group | Gas | No
GTC.pdf | GTC-Gas | Gas | Yes | No GTC plant has been found in this area | 0
| BOC Limited (A Member of the Linde Group) | Gas | No
| Fulcrum Pipelines Limited | Gas | No
| MUA Group Limited - Gas | Gas | No
| Energy Assets Networks - Gas | Gas | No
| Northern Gas Networks Limited | Gas | No
| AWE Pipeline | Gas | No
| Indigo Networks | Gas | No
UKPN_42323149.pdf | UK Power Networks | Electricity | Yes | There is HV Cable in this area¦ | 0
| National Grid Electricity Distribution | Electricity | No
| Scottish and Southern Electricity Networks | Electricity | No
National Grid Electricity_42323149.pdf | National Grid Electricity Transmission | Electricity | Yes |  | 100
| Last Mile | Electricity | No
| TfL – London Underground HV Cables | Electricity | No
| SP Energy Networks | Electricity | No
| EirGrid | Electricity | No
| GTC-Electricity | Electricity | No
| MUA Group Limited - Electricity | Electricity | No
| Energy Assets Networks - Electricity | Electricity | No
| EDF Energy Renewables Ltd | Electricity | No
| Electricity North West Limited | Electricity | No
| UK Power Distribution | Electricity | No
| Uniper UK Ltd - Enfield | Electricity | No
| Trojan Energy Limited | Electricity | No
| Squire Energy Networks | Electricity | No
| Vattenfall | Electricity | No
| Fulcrum Electricity Assets Limited | Electricity | No
| Essex & Suffolk Water | Water | No
| SES Water | Water | No
Clean_Water.pdf | Clean_Water | Water | Yes |  | 11.12
Waste_Water.pdf | Waste_Water | Water | Yes |  | 99.96
| Welsh Water | Water | No
| Northumbrian Water Limited | Water | No
| GTC-Water | Water | No
| Yorkshire | Water | No
BT.pdf | BT | Telecom | Yes |  | 0
| Gigaclear Ltd | Telecom | No
| Zayo Group UK Ltd c/o JSM Group Ltd | Telecom | No
| EUNetworks Fiber UK Limited | Telecom | No
| EXA Infrastructure | Telecom | No
| Neos Networks | Telecom | No
VM.pdf | VM | Telecom | Yes |  | 100
| Spectrum Fibre Limited T/AS Ogi | Telecom | No
| Concept Solutions People Ltd | Telecom | No
| G.Network Communication Ltd c/o JSM Group Ltd | Telecom | No
| Box Broadband Ltd | Telecom | No
| Tata Communications | Telecom | No
| AllPoints Fibre | Telecom | No
| Gamma | Telecom | No
| Voneus Limited | Telecom | No
| toob Limited | Telecom | No
| GTC-Fibre | Telecom | No
| GTC-Heat | Heat | No
| Pimlico District Heating Undertaking (PDHU) | Heat | No
| Veolia ES SELCHP Limited | Heat | No
| Veolia ES Sheffield Ltd | Heat | No
| Esso Petroleum Company Limited | Petroleum | No
| Exolum Pipeline System | Petroleum | No
| Mainline Pipelines Limited | Petroleum | No
| BPA | Petroleum | No
Nearest_Toilet.pdf | Toilet Map | Toilet | Yes |  | 100
Nearest_Hospital.pdf | Hospital Map | Hospital | Yes |  | 100
| COSHH | COSHH | No