## Sheet1
UtilityName | UtilityType | Status | Warning
Cadent Gas | Gas | No
SGN | Gas | Yes | There is a Medium Pressure Gas Line in this area¦
SSE Utility Solutions Limited | Gas | No
National Gas Transmission | Gas | No
Wales and West Utilities | Gas | No
ESP Utilities Group | Gas | No
GTC-Gas | Gas | Yes | GTC plant has been present in this area
BOC Limited (A Member of the Linde Group) | Gas | No
Fulcrum Pipelines Limited | Gas | No
MUA Group Limited - Gas | Gas | No
Energy Assets Networks - Gas | Gas | No
Northern Gas Networks Limited | Gas | No
AWE Pipeline | Gas | No
Indigo Networks | Gas | No
UK Power Networks | Electricity | Yes | There is HV Cable in this area¦
National Grid Electricity Distribution | Electricity | No
Scottish and Southern Electricity Networks | Electricity | No
National Grid Electricity Transmission | Electricity | No
Last Mile | Electricity | No
TfL – London Underground HV Cables | Electricity | No
SP Energy Networks | Electricity | No
EirGrid | Electricity | No
GTC-Electricity | Electricity | Yes | Electricity cables are present in this area
MUA Group Limited - Electricity | Electricity | No
Energy Assets Networks - Electricity | Electricity | No
EDF Energy Renewables Ltd | Electricity | No
Electricity North West Limited | Electricity | No
UK Power Distribution | Electricity | No
Uniper UK Ltd - Enfield | Electricity | No
Trojan Energy Limited | Electricity | No
Squire Energy Networks | Electricity | No
Vattenfall | Electricity | No
Fulcrum Electricity Assets Limited | Electricity | No
Essex & Suffolk Water | Water | No
SES Water | Water | No
Clean_Water | Water | Yes
Waste_Water | Water | Yes
Welsh Water | Water | No
Northumbrian Water Limited | Water | No
GTC-Water | Water | No
Yorkshire | Water | No
BT | Telecom | Yes
Gigaclear Ltd | Telecom | No
Zayo Group UK Ltd c/o JSM Group Ltd | Telecom | No
EUNetworks Fiber UK Limited | Telecom | No
EXA Infrastructure | Telecom | No
Neos Networks | Telecom | No
VM | Telecom | Yes
Spectrum Fibre Limited T/AS Ogi | Telecom | No
Concept Solutions People Ltd | Telecom | No
G.Network Communication Ltd c/o JSM Group Ltd | Telecom | No
Box Broadband Ltd | Telecom | No
Tata Communications | Telecom | No
AllPoints Fibre | Telecom | No
Gamma | Telecom | No
Voneus Limited | Telecom | No
toob Limited | Telecom | No
GTC-Fibre | Telecom | No
GTC-Heat | Heat | No
Pimlico District Heating Undertaking (PDHU) | Heat | No
Veolia ES SELCHP Limited | Heat | No
Veolia ES Sheffield Ltd | Heat | No
Esso Petroleum Company Limited | Petroleum | No
Exolum Pipeline System | Petroleum | No
Mainline Pipelines Limited | Petroleum | No
BPA | Petroleum | No
Toilet Map | Toilet | Yes
Hospital Map | Hospital | Yes
COSHH | COSHH | No